##### Two-dimensional gel electrophoresis (2-DE)

###### First dimension: rehydration and isoelectric focusing (IEF)

First dimension of electrophoresis (IEF) was done using 18-cm IPG gel strips (pH 3-10 NL) to separate proteins according to their isoelectric point (pI). For serum proteomics study, 300 µg of depleted serum (according to GE healthcare guideline) was added to rehydration buffer (8 M urea, 2% CHAPS, 2% DTT, and 0.002% bromophenol blue). For MSCs study, 500 µg of samples was added to rehydration buffer (7 M urea, 2 M thiourea, 2% CHAPS, and 0.002% bromophenol blue). Note that rehydration step was different in amount of loaded protein and morality of urea. 0.001g of dithiothreitol (DTT) and 0.5 % (1.7 µl) immobilized pH gradient (IPG) buffer (pH 3-10 NL) were added to a final volume of rehydration buffer and protein sample (340 μl ) prior to use. Finally, the mixture was applied on IPG strips and incubated for 45 min at 20°C. Strips were covered by cover fluid and then actively rehydrated for 16h at 50V (20ºC). After rehydration, the cover fluid was changed and strips were focused for 70000Vh at 20ºC. DTT as a reducing agent is able to cleave the disulfide bonds and generate unfolding proteins.  Urea as a chaotropes is quite efficient in disrupting of hydrogen bonds, leading to protein unfolding, solubilization and denaturation. CHAPS as a nonionic and/or zwitterionic detergents, enables to solubilize and minimize protein aggregation. IPG buffer as carrier ampholytes (CA) improves both solubility and separations of proteins and increases tolerance to salt. IPG buffer also generates more consistent conductivity across the pH gradient without affecting on IEF or gradient.

###### Equilibration

Before the second dimension, focused strips were equilibrated and reduced in presence of 5 ml of equilibration buffer (containing 6 M urea, 75 mM Tris-HCL, pH 8.8, 29.3% (v/v) glycerol, 2% (w/v) SDS) and 0.05 g DTT for 15 min. The strips were then alkylated in presence of 5ml equilibration buffer and 0.125 g iodoacetamide for 15 min. SDS denatures proteins and surrounds the proteins with negative charges to allow separating the proteins on the basis of their molecular weight.  Urea and glycerol greatly diminish electro-endosmosis effect and subsequently facilitate protein transfer from the first dimension to second phase. DTT as a reducing agent is able to cleave the disulfide bonds and generate unfolding proteins.  Unfolding is an unstable step. To solve this problem, iodoacetamide is used to alkylate any free DTT and any sulfhydryl groups and prevent reoxidation of disulfide bonds. On the other hand, iodoacetamide preserves the effect of DTT.

###### Second dimension: SDS-page electrophoresis

In the second dimension of electrophoresis, proteins were separated according to their MW by the protean II xi cell system. The equilibrated strips were sealed on the top of a 12.5% SDS-PAGE gel (comprising of 16.66 ml of 30% acrylamide, 10 ml tris buffer with pH8.8, 400 µl of 10% SDS, 12.7 ml D.W, 220 µl of 10% ammonium persulfate (APS), 11 µl tetra methyl ethylene ediamine (TEMED)) using 0.5% agarose. Electrophoresis was then performed on a vertical system containing running buffer 1X (3.03 g tris, 14.4 g glycine,1 g SDS and up to 1000 ml D.W), at 15 mA per gel for 10 min, following by 25 mA per gel for next 6-7 h until the bromophenol blue dye reached the bottom of the gels. To minimize the variation in analysis, the same parameters were used for each gel and depleted serum of a normal healthy control was repeatedly run and stained.

##### Gel fixation

The cassette was open, the IPG gel strip was removed and SDS-gel was fixed in a fixative solution contained 40 ml ethanol,10 ml acetic acid and 50 ml D.W for 30-45 min. Ethanol tends to shrink the gel and make it easier to handle, but it will destain the gel.

##### Gel staining

Coomassie brilliant blue (CBB) G-250 dye solution was used to visualize protein spots on gels. 150 ml deionized water (DI. water) was added to 20 g ammonium sulfate and 4 ml orthophosphoric acid. When the ammonium sulfate was dissolved, 0.3 g of CBB G-250 was added. The dye solution was stirring during gel electrophoresis. Prior to use, 50 ml methanol was added to dye solution. The fixative solution was decanted and then the gel was placed in dye solution for up to two days. Colloidal coomassie method or blue silver staining is an adaptation of traditional coomassie staining by a modified coomassie dye (G-250 instead of R-250). CBB G-250 has several advantages over traditional coomassie staining. Increased sensitivity, with a detection limit of around 10 ng is one of major advances. As the colloidal dye does not enter into gel, it provides a reduced background staining that permits rapid visualization of the gel bands. Non-penetrating of dye to gel also eliminates the destaining step and subsequently increases reproducibility in compared with silver and traditional coomassie staining. Reproducibility in silver stain is low and only in form without aldehyde-base is compatible with MS that it reduces sensitivity. Silver stain requires additional washing steps which can lead to sample loss and increase risk of keratin contamination. The enhanced sensitivity as well as compatibility with MS identification makes CBB G-250  an ideal method for experiments involving low protein levels (LAPs). Use of phosphoric acid in this method leads to the incorporation of the acid to the alcoholic media (ethanol) lets the coomassie molecules aggregate into their colloidal state (131).

##### Gels imaging, spots detection and statistical analysis

After staining, the gels were repeatedly rinsed with water to remove residual stain. The coomassie-stained gels were scanned with a GS-800 calibrated densitometer at 300 dpi resolution and then analyzed with Prodigy SameSpots version 1.0 software package (Nonlinear Dynamics) to find statistical differences in protein spot expression. Briefly, a gel (image) containing all the spots were selected as reference gel and other gels (images) were paired with this gel. The spots in each gel were initially aligned by placing 21 manual vectors onto same spots of the reference gel. After manually matching, the software carried automatically out some other alignment by generating the automatic vectors for each gel image.  These aligned vectors are editable and corrected vectors should be considered to all gels. For serum proteomics, the gels were grouped and analyzed according to benign and malignant groups and also grouped and analyzed regarding histological tumor types (PA, WT, MEC, ACC and CEPA) and the other clinicopathological characteristics available in Table 4-1. For MSCs study comparison was made between two studies groups, MEC and PA. The maximum fold change for each spot is calculated on the spots normalized volume of each spot. Prodigy Same Spots software package automatically calculates average normalized volume (% expression) and considers p values using analysis of variance between each comparison. Differentially expressed spots (between groups or histological tumor types) were picked up from gels by sterile pasteur pipette and were collected in eppendorf tubes. Spots were dried under laminar airflow cabinet and kept at -20°C until finding the appropriate choice for identification by MS. Because of limitations in MS availability, only fifteen differentially expressed spots (15 spots from gels related to serum proteome and 11 spots from gels related to MSCs proteome) with pv less than 0.05 were selected for identification.

#### MALDI-TOF-TOF

The selected spots sent to the proteomics laboratory at the Bioscience Technology Facility, University of York, UK for identification. According to protocol of this laboratory, proteins were digested in-gel with trypsin, post reduction and alkylation.  The resulting peptides were analyzed by Matrix Assisted Laser Desorption Ionization Tandem Time-of-Flight mass spectrometry (MALDI-TOF-TOF).  A MS spectrum is acquired between 800-5000 m/z and the ten strongest peaks, above a signal to noise threshold, were selected for MS/MS fragmentation.  The tandem mass spectral data produced were searched against the UniProt human-sp (www.uniprot.org) and NCBI database (https://www.ncbi.nlm.nih.gov) using the Mascot search program (http://www.matrixscience.com) to generate peptide matches with associated expects values. On the other hand, spectral data are matched to known sequences upon database searching. Trypsin enzyme cuts C-term side of KR unless next residue is P. As shown in Table 3-4 one missed cleavage per peptide as well as carbamidomethylation of cysteine and oxidation of methionine and mass values of monoisotopic were set in the search setting.  Mass tolerance settings of ±100 ppm for peptide and ±0.5 Da for fragment ions were applied. Protein identifications are inferred from peptide matches. Ions score is -10*Log (P), where P is the probability that the observed match is a random event. Protein scores are derived from ions scores as a non-probabilistic basis for ranking protein hits. In the present study, MASCOT protein scores greater than 62 was considered as statistically significant (P <.05). On the other hand, individual ions scores > 62 indicate identity or extensive homology.